## Sheet1
UNIK5000 센서 재고 | [6 empty] | 2015-03-08
품번 | 규격 | 단위 환산 ( 기준=mbar/bar) | 정확도 | Electric 커넥터 | 출력타입 | 온도범위 | Pressure 커넥터 | 재고수량
TGE-A5024-TBA3CAH0PF-350MBAR G | -350 to 350 mbar gauge |  | A3 | Raychem Cable | 0 to 5V (3선식) | -20 to 80℃ | 1/4 NPT Male | 1
TGE-A5016-TCA2CAH0PB-900PSI A | 0 TO 900 PSI ABSOLUTE | 0 to 62 bar Abs | A2 | Cable Gland (Polyurethane Cable |  |  |  | 1
TGE-A5073-TBA1CAH0PA-1200MB BA | 800 to 1200 mbar barometric |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 1
TGE-A5066-TCA2CAH0PB-1000KPA A | 0 TO 1000 KPA ABLSOLUTE | 0 to 10 bar Abs | A2 | MIL-C-26482 (6pin) | 0 to 10V (4선식) | -40 to 80℃ | G1/4 male flat | 2
TGE-A5066-TCA2CAH0PB-100KPA A | 0 TO 100 KPA ABSOLUTE | 0 to 1 bar Abs | A2 | MIL-C-26482 (6pin) | 0 to 10V (4선식) | -40 to 80℃ | G1/4 male flat | 2
TGE-A5066-TCA2CAH0PB-10KPA A | 0 TO 10 KPA ABSOLUTE | 0 to 100 mbar Abs | A2 | MIL-C-26482 (6pin) | 0 to 10V (4선식) | -40 to 80℃ | G1/4 male flat | 2
TGE-A5066-TCA2CAH0PB-200KPA A | 0 TO 200 KPA ABSOLUTE | 0 to 2 bar Abs | A2 | MIL-C-26482 (6pin) | 0 to 10V (4선식) | -40 to 80℃ | G1/4 male flat | 6
TGE-A5066-TCA2CAH0PB-500KPA A | 0 TO 500 KPA ABLSOLUTE | 0 to 5 bar Abs | A2 | MIL-C-26482 (6pin) | 0 to 10V (4선식) | -40 to 80℃ | G1/4 male flat | 3
TGE-A5073-TBA1CAH0PA-1BARG | 0 to 1 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 19
TGE-A5073-TBA1CAH0PA-3BARG | 0 to 3 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 19
TGE-A5073-TBA1CAH0PA-5BARG | 0 to 5 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 12
TGE-A5073-TBA1CAH0PA-7BARG | 0 to 7 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 18
TGE-A5073-TBA1CAH0PA-10BARG | 0 to 10 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 20
TGE-A5073-TBA1CAH0PA-1BAR G | -1 to 1 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 15
TGE-A5073-TBA1CAH0PA-2.5BAR G | -1 to 2.5 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 8
TGE-A5073-TBA1CAH0PA-5BAR G | -1 to 5 bar gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 2
TGE-A5073-TBA1CAH0PA-700BAR SG | 0 to 700 bar sealed gauge |  | A1 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | G1/4 Female | 2
TGE-A5073-TBA2CAH0PE-1BARG | 0 to 1 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5073-TBA2CAH0PE-3BARG | 0 to 3 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5073-TBA2CAH0PE-7BARG | 0 to 7 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 16
TGE-A5073-TBA2CAH0PE-10BARG | 0 to 10 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 13
TGE-A5073-TBA2CAH0PE-1BAR G | -1 to 1 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 14
TGE-A5073-TBA2CAH0PE-5BAR G | -1 to 5 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 19
TGE-A5073-TBA2CAH0PE-7BAR G | -1 to 7 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5073-TBA2CAH0PE-10BAR G | -1 to 10 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5073-TCA3CAH0PA-1000KPAG | 0 to 1000 kPa gauge | 0 to 10 bar gauge | A3 | DIN Demountable | 0 to 5V (4선식) | -40 to 80℃ | G1/4 Female | 4
TGE-A5073-TCA3CAH0PA-200KPA G | -1 to 200 kPa gauge | -1 to 2 bar gauge | A3 | DIN Demountable | 0 to 5V (4선식) | -40 to 80℃ | G1/4 Female | 2
TGE-A5073-TCA3CAH0PA-500KPA G | -1 to 500 kPa gauge | -1 to 5 bar gauge | A3 | DIN Demountable | 0 to 5V (4선식) | -40 to 80℃ | G1/4 Female | 2
TGE-A5073-TCA3CAH0PA-500KPAG | 0 to 500 kPa gauge | 0 to 5 bar gauge | A3 | DIN Demountable | 0 to 5V (4선식) | -40 to 80℃ | G1/4 Female | 4
TGE-A5073-TCA3CAH0PA-900MMHGB | 600 to 900 mmHg Barometric | 800 to 1200 mbar baro. | A3 | DIN Demountable | 0 to 5V (4선식) | -40 to 80℃ | G1/4 Female | 2
TGE-A5073-TDA2CAH0PE-2BAR G | -1 to 2 bar gauge |  | A2 | DIN Demountable | 0 to 5V (4선식) | -40 to 125℃ | 1/4 NPT Female | 3
TGE-A5076-TBA1CAH0PA-4000PSISG | 0 to 4000 psi sealed gauge | 0 to 275 bar sealed gauge | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | G1/4 Female | 3
TGE-A5076-TBA1CAH0PA-6000PSISG | 0 to 6000 psi sealed gauge | 0 to 413 bar sealed gauge | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | G1/4 Female | 1
TGE-A5076-TBA1CAH0PB-250KPA G | -100 to 250 kPa gauge | -1 to 2.5 bar gauge | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | G1/4 male flat | 3
TGE-A5076-TBA1CAH0PE-2BARG | 0 to 2 bar gauge |  | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 10
TGE-A5076-TBA1CAH0PE-5BARG | 0 to 5 bar gauge |  | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 10
TGE-A5076-TBA1CAH0PE-10BARG | 0 to 10 bar gauge |  | A1 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 4
TGE-A5076-TBA2CAH0PE-120KPA B | 80 to 120 Kpa Barometric | 800 to 1200 mbar baro. | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 3
TGE-A5076-TBA2CAH0PE-1200MB BA | 800 to 1200 mbar Barometric |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 1
TGE-A5076-TBA2CAH0PE-1BARG | 0 to 1 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 30
TGE-A5076-TBA2CAH0PE-2BARG | 0 to 2 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 29
TGE-A5076-TBA2CAH0PE-3BARG | 0 to 3 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 29
TGE-A5076-TBA2CAH0PE-5BARG | 0 to 5 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 28
TGE-A5076-TBA2CAH0PE-7BARG | 0 to 7 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 30
TGE-A5076-TBA2CAH0PE-10BARG | 0 to 10 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 30
TGE-A5076-TBA2CAH0PE-20BARG | 0 to 20 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 8
TGE-A5076-TBA2CAH0PE-1BAR G | -1 to 1 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5076-TBA2CAH0PE-2BAR G | -1 to 2 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5076-TBA2CAH0PE-3BAR G | -1 to 3 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 15
TGE-A5076-TBA2CAH0PE-5BAR G | -1 to 5 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 12
TGE-A5076-TBA2CAH0PE-7BAR G | -1 to 7 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 10
TGE-A5076-TBA2CAH0PE-10BAR G | -1 to 10 bar gauge |  | A2 | DIN Demountable | 0 to 10V (4선식) | -20 to 80℃ | 1/4 NPT Female | 23
TGE-A50A3-TCA2CAHOPE-1MPA ABS | 1 MPa absolute | 0 to 10 bar Abs | A2 | MIL-C Demountable (고온) | 0 to 5V (4선식) | -40 to 80℃ | 1/4 NPT Female | 5
TGE-A50A3-TCA2CAHOPE-5MPA ABS | 5 MPa absolute | 0 to 50 bar Abs | A2 | MIL-C Demountable (고온) | 0 to 5V (4선식) | -40 to 80℃ | 1/4 NPT Female | 4
TGE-X5012-TBA2CAH0PG-5BAR G | -1 to 5 bar gauge |  | A2 | Cable Gland (Polyurethane cable) | 4 to 20 mA (2선식) | -20 to 80℃ | 1/8 NPT Male | 1
TGE-X5012-TBA3CAH0PA-100BAR SG | 0 to 100 bar sealed gauge |  | A3 | Cable Gland (Polyurethane cable) | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 1
TGE-X5012-TBA3CAH0PA-10PISG | 0 to 10 psi gauge | 0 to 0.68 bar gauge | A3 | Cable Gland (Polyurethane cable) | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 1
TGE-X5012-TCA2CAH0PA-10BAR WDD | 10 bar wet/dry diff |  | A2 | Cable Gland (Polyurethane cable) | 4 to 20 mA (2선식) | -40 to 80℃ | G1/4 Female | 1
TGE-X5022-TDA2CAH0PB-10BARG | 0 to 10 bar gauge |  | A2 | Raychem Cable | 4 to 20 mA (2선식) | -40 to 125℃ | G1/4 male flat | 2
TGE-X5022-TDA3CAH0PE-2BAR G | -1 to 2 bar gauge |  | A3 | Raychem Cable | 4 to 20 mA (2선식) | -40 to 125℃ | 1/4 NPT Female | 1
TGE-X5072-TBA1CAH0PA-1.6BA | 1.6 bar absolute |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 3
TGE-X5072-TBA1CAH0PA-1BARG | 0 to 1 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 15
TGE-X5072-TBA1CAH0PA-3BARG | 0 to 3 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 15
TGE-X5072-TBA1CAH0PA-7BARG | 0 to 7 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 15
TGE-X5072-TBA1CAH0PA-10BARG | 0 to 10 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 13
TGE-X5072-TBA1CAH0PA-1200MB BA | 800 to 1200 mbar barometric |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 2
TGE-X5072-TBA1CAH0PA-1BAR G | -1 to 1 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | G1/4 Female | 1
TGE-X5072-TCA1CAH0PA-100BAR SG | 0 to 100 bar sealed gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | G1/4 Female | 4
TGE-X5072-TCA1CAH0PA-5BAR G | -1 to 5 bar gauge |  | A1 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | G1/4 Female | 1
TGE-X5072-TCA1CAH0PN-50KGHG | 0 to 50 kg/cm2 gauge | 0 to 49 bar gauge | A1 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | G1/2 male via adaptor | 2
TGE-X5072-TCA2CAH0PB-5BAR G | -1 to 5 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | G1/4 male flat | 3
TGE-X5072-TCA2CAH0PB-700MMHGG | 0 to 700 mmHg gauge | 0 to 0.93 bar gauge | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | G1/4 male flat | 4
TGE-X5072-TBA2CAH0PF-1BARG | 0 to 1 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | 1/4 NPT Male | 20
TGE-X5072-TBA2CAH0PF-2BARG | 0 to 2 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | 1/4 NPT Male | 19
TGE-X5072-TBA2CAH0PF-5BARG | 0 to 5 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | 1/4 NPT Male | 19
TGE-X5072-TBA2CAH0PF-10BARG | 0 to 10 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -20 to 80℃ | 1/4 NPT Male | 15
TGE-X5072-TCA2CAH0PF-1BAR G | -1 to 1 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Male | 8
TGE-X5072-TCA2CAH0PF-3BAR G | -1 to 3 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Male | 7
TGE-X5072-TCA2CAH0PF-20BAR G | -1 to 20 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Male | 5
TGE-X5072-TCA2CAH0PF-40BAR G | -1 to 40 bar gauge |  | A2 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Male | 5
TGE-X5072-TCA3CAH0PE-1000PSI A | 1000 psi absolute | 68.94 bar absolute | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAH0PE-100PSI AB | 100 psi absolute | 6.89 bar absolute | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAH0PE-2000PSI A | 2000 psi absolute | 137.89 bar absolute | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAH0PE-3000PSI A | 3000 psi absolute | 206.84 bar absolute | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAH0PE-5PSI | 5 psi absolute | 0.34 bar absolute | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAH0PE-812MMGH B | 500 to +812 mmHG barometric | 666.61 to 1082 mbar Baro | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAHOPE-10000MMH2 | 10000 mmH2O wet/dry differential | 980.66 mbar Diff. | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 5
TGE-X5072-TCA3CAHOPE-10000MMWW | 10000 mmH2O wet/wet differential | 980.66 mbar Diff. | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAHOPE-1000MBARD | 1000 mbar wet/wet differential |  | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAHOPE-1000MBARW | 1000 mbar wet/dry differential |  | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAHOPE-1040MBARA | 1040 mbar absolute |  | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 1
TGE-X5072-TCA3CAHOPE-5000MMH20 | 5000 mmH2O wet/dry differential | 490.33 mbar | A3 | DIN Demountable | 4 to 20 mA (2선식) | -40 to 80℃ | 1/4 NPT Female | 4
TGE-X50A2-TDA2CAHOPG-250KPA AB | 250 kPa absolute | 2.5 bar absolute | A3 | MIL-C Demountable (고온) | 4 to 20 mA (2선식) | -40 to 125℃ | 1/8 NPT Male | 4

## Sheet2
주요 레인지 재고 LIST
TYPE | UNIK5000 | Connection | Output | C.Temp | Accuracy |  | Fitting | Range | 재고수량
PMP (전압출력타입) | 50 | 7 (DIN connector) | 3 (0 to 5V 4 Wire) | TB | A1 (0.2%) | CA-H0 | PA ( G 1/4 Female) | -1 TO 1 BAR GAUGE | 11
[8 empty] | 0 TO 1 BAR GAUGE | 20
[8 empty] | -1 TO 2.5 BAR GAUGE | 8
[8 empty] | 0 TO 3 BAR GAUGE | 20
[8 empty] | -1 TO 5 BAR GAUGE | 8
[8 empty] | 0 TO 5 BAR GAUGE | 7
[8 empty] | 0 TO 700 BAR SEALED GAUGE | 2
[8 empty] | 0 TO 7 BAR GAUGE | 18
[5 empty] | A2 (0.1%) |  | PE ( NPT 1/4 Female) | -1 TO 10BAR GAUGE | 15
[8 empty] | 0 TO 10 BAR GUAGE | 14
[8 empty] | -1 To +1 bar G | 14
[8 empty] | 0 TO 1 BAR GAUGE | 15
[8 empty] | 0 TO 3 BAR GAUGE | 15
[8 empty] | -1 To +5 bar G | 19
[8 empty] | -1 To +7 bar gauge | 15
[8 empty] | 0 TO 7 BAR GAUGE | 16
|  |  | 6 (0 to 10V 4 Wire) | TB | A1 (0.2%) |  | PA ( G 1/4 Female) | 0 TO 4000 PSI SEALED GAUGE | 3
[8 empty] | 0 TO 6000 PSI SEALED GAUGE | 1
[7 empty] | PB ( G 1/4 Male Flat ) | 100 To +250 kPa G | 3
[7 empty] | PE ( NPT 1/4 Female) | 0 TO 10 BAR GAUGE | 4
[8 empty] | 0 TO 2 BAR GAUGE | 10
[8 empty] | 0 TO 5 BAR GAUGE | 10
[5 empty] | A2 (0.1%) |  |  | -1 TO +10 BAR GAUGE | 23
[8 empty] | 0 TO 10 BAR GAUGE | 29
[8 empty] | -1 To +1 BAR GAUGE | 15
[8 empty] | 0 TO 1 BAR GAUGE | 30
[8 empty] | 0 TO 20 BAR GAUGE | 10
[8 empty] | -1 TO 2 BAR GAUGE | 15
[8 empty] | 0 TO 2 BAR GAUGE | 29
[8 empty] | -1 TO 3 bar gauge | 15
[8 empty] | 0 TO 3 BAR GUAGE | 30
[8 empty] | -1 TO 5 bar G | 12
[8 empty] | 0 TO 5 BAR GAUGE | 30
[8 empty] | -1 TO 7 BAR GAUGE | 15
[8 empty] | 0 TO 7 BAR GAUGE | 27
PTX (전류출력타입) | 50 | 7 (DIN connector) | 2 (4 to 20mA 2 Wire) | TB | A1 (0.2%) |  | PA ( G 1/4 Female) | 0 TO 1 BAR GUAGE | 15
[8 empty] | 0 TO 3 BAR GAUGE | 15
[8 empty] | 0 TO 7 BAR GAUGE | 15
[8 empty] | 0 TO 10 BAR GAUGE | 13
[5 empty] | A2 (0.1%) |  | PF ( NPT 1/4 Male ) | 0 to 10 BAR GAUGE | 15
[8 empty] | 0 TO 1 BAR GAUGE | 20
[8 empty] | 0 TO 2 BAR GAUGE | 9
[8 empty] | 0 TO 5 BAR GUAGE | 15
[8 empty] | 0 TO 700 KPA GAUGE | 1
[8 empty] | 120KPA ABSOLUTE | 1
[8 empty] | 0 TO 2 BAR GAUGE | 10
|  |  |  | TC |  |  |  | 0 TO 100 BAR SEALED GAUGE | 5
[8 empty] | -1 TO 5 BAR GAUGE | 1
[8 empty] | 0 TO 50 kgf/cm2 GAUGE | 2
[8 empty] | 10 KGF/CM2 GAUGE | 2
[8 empty] | -1 TO 5 BAR GAUGE | 3
[8 empty] | 0 TO 700MMHG GAUGE | 4
[8 empty] | 0 TO 10 BAR GAUGE | 1
[8 empty] | -1 TO +1 bar gauge | 7
[8 empty] | -1 TO +20 bar gauge | 5
[8 empty] | -1 TO +3 bar gauge | 10
[8 empty] | -1 TO +40 bar gauge | 5
기타 레인지 재고 LIST
PMP (전압출력타입) | 50 | 1 Cable Gland (Polyurethane Cable) | 6 0 to 10 V 4-wire | A5016-TCA2CAH0PB |  |  |  | 0 TO 900 PSI ABSOLUTE | 1
|  | 2 (Raychem Cable) | 4 | A5024-TBA3CAH0PF |  |  |  | -350 TO 350 MBAR GAUGE | 1
|  | 6 (MIL-C-26482 ) | 3 0 to 5 V 4-wire | A5063-TDA2CAH0PE |  |  |  | -1 TO 2 BAR GAUGE | 4
|  |  |  | A5063-TDA3CAH0PG |  |  |  | 0 TO 2 BAR ABSOLUGE | 2
|  |  | 6 0 to 10 V 4-wire | A5066-TCA2CAH0PB |  |  |  | 0 TO 1000 KPA ABLSOLUTE | 2
|  |  |  | A5066-TCA2CAH0PB |  |  |  | 0 TO 100 KPA ABSOLUTE | 2
|  |  |  | A5066-TCA2CAH0PB |  |  |  | 0 TO 10 KPA ABSOLUTE | 2
|  | 7 (DIN connector) | 3 0 to 5 V 4-wire | A5073-TBA1CAH0PA |  |  |  | 800 TO 1200 MBAR BAROMETRIC | 1
|  |  |  | A5073-TCA3CAH0PA |  |  |  | 0 TO 1000 KPA GAUGE | 4
|  |  |  | A5073-TCA3CAH0PA |  |  |  | -1 TO 500 KPA GAUGE | 1
|  |  |  | A5073-TCA3CAH0PA |  |  |  | 0 TO 500 KPA GAUGE | 2
|  |  |  | A5073-TCA3CAH0PA |  |  |  | 600 TO 900 MMHG BAROMETRIC | 2
|  |  |  | A5073-TDA2CAH0PE |  |  |  | -1 TO 2 BAR GAUGE | 3
|  |  |  | A50A3-TCA2CAHOPE |  |  |  | 0 TO 1 MPA ABSOLUTE | 5
|  | A Demountable MIL-C-26482 |  | A50A3-TCA2CAHOPE |  |  |  | 0 TO 5 MPA ABSOLUTE | 4
|  |  |  | A50G3-TDA3CAH0PA |  |  |  | -1 TO 10 BAR GAUGE | 2
|  | G M12 x 1 4-pin male |  | A50G3-TDA3CAH0PA |  |  |  | -1 TO 30 BAR GAUGE | 1
PTX (전류출력타입) | 50 | 1 Cable Gland (Polyurethane Cable) | 2 (4 to 20mA 2 Wire) | X5012-TBA2CAH0PG |  |  |  | 0 TO 5 BAR GAUGE | 1
|  |  |  | X5012-TBA3CAH0PA |  |  |  | 0 TO 100 BAR SEALED GAUGE | 1
|  |  |  | X5012-TBA3CAH0PA |  |  |  | 0 TO 10 PSI GAUGE | 1
|  |  |  | X5012-TCA2CAH0PA |  |  |  | 10 bar wet/dry diff | 1
|  | 2 (Raychem Cable) |  | X5022-TDA2CAH0PB |  |  |  | 0 TO 10 BAR GAUGE | 2
|  |  |  | X5022-TDA3CAH0PE |  |  |  | -1 TO 2 BAR GAUGE | 1
|  | 6 (MIL-C-26482 ) |  | X5062-TCA2CAH0PA |  |  |  | 0 TO 200 BAR SEALED GAUGE | 1
|  |  |  | X5062-TCA3CAHAPF |  |  |  | 0 TO 700 mH2O GAUGE | 2
|  | 7 (DIN connector) |  | X5072-TBA1CAH0PA |  |  |  | 0 TO 1.6 BAR ABSOLUTE | 2
|  |  |  | X5072-TBA1CAH0PA |  |  |  | 0 TO 100 MBAR GAUGE | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 0 TO 1000 PSI ABSOLUTE | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 0 TO 100 PSI ABSOLUTE | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 0 TO 2000 PSI ABSOLUTE | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 3000 psi absolute | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 0 TO 5 PSI ABSOLUTE | 1
|  |  |  | X5072-TCA3CAH0PE |  |  |  | 500 To +812 mmHg barometric | 1
|  |  |  | X5072-TCA3CAHOPE |  |  |  | 10000 MMH2O WET/DRY DIFFERENTIAL | 5
|  |  |  | X5072-TCA3CAHOPE |  |  |  | 10000 MMH2O DIFFERENTIAL WET/WET | 1
|  |  |  | X5072-TCA3CAHOPE |  |  |  | 1000 MBAR WET/DRY DIFFERENTIAL | 1
|  |  |  | X5072-TCA3CAHOPE |  |  |  | 1040 MBAR ABSOLUTE | 1
|  |  |  | X5072-TCA3CAHOPE |  |  |  | 5000 MMH2O WET.DRY DIFFERENTIAL | 4
|  |  |  | X50A2-TDA2CAHOPG |  |  |  | 0 TO 250 KPA ABSOLUTE | 4